## Slide 1: Enabling HA – DR for Mission Critical Production Systems

## Slide 2: Agenda
Foundations of HA and DR Solutions
What are characteristics for High-Availability (HA) & Disaster Recovery (DR) clusters?
Sample HA & DR Architectures
Questions & Discussion

## Slide 3: Foundations of High Availability and Disaster Recovery

## Slide 4: High Availability & Disaster Recovery
High Availability
  “Zero Downtime” administration & maintenance
  Data redundancy
  Automatic failover
Disaster Recovery
  A plan for Business Continuity for “mission-critical” applications
  Multi-state redundancy and failover
  Backup-Restore for worst case scenario

## Slide 5: Foundations of HA and DR
You need to understand and be able to explain that “Can never go down or lose data” has serious monetary consequences and what it really means.
Define in writing your Recovery Time Objective (RTO) and Recovery Point Objective (RPO) in seconds/minutes/hours
  These numbers will guide your entire Couchbase architecture and HA/DR solution.
Get management to sign off on these two numbers and plan
  With this, you have a target to hit and justification for your architecture and spending
  Without this, you have reduced leverage in management conversations and may not get what you need

## Slide 6: Foundations of HA and DR
Couchbase XDCR is not Disaster Recovery
Disaster Recovery requires a layered approach and overall plan, including testing of that plan.
Each feature of Couchbase we use as part of that plan
If the plan is not in writing, it does not exist.

## Slide 7: Intra-Cluster High Availability

## Slide 8: Intra-Cluster Replication
  RAM to RAM replication
  Have at least 3 nodes in your cluster and at least 1 replica
Intra-cluster replication is the process of replicating data on multiple servers within a cluster in order to provide data redundancy.

## Slide 9: Rack/Zone Awareness
Grouping of servers into Server Groups so that each group represents a physically separate rack/zone
RZA ensures that replica vBuckets are not on the same rack/zone as the active vBuckets
If configured correct, it can withstand entire rack/zone/VMHost going down
  Nodes 1, 2, 3 in Zone 1
  Nodes 4, 5, 6 in Zone 2
  Nodes 7, 8, 9 in Zone 3
  Cluster has 2 replicas (3 copies of data). You need a copy of the data per rack/zone
  This is a balanced configuration

## Slide 10: Application Considerations
Have in your app’s connection string more than one node of your cluster
RPO can dictate your use of Replicate_to in your application
Replica reads
Writes are a sticky point though
  Write to a message queue temporarily
  Write to a secondary CB cluster and use XDCR to replicate back

## Slide 11: How Many Replicas?
Usually best to have 1 replica for clusters 10 nodes are smaller
Above that, you need another replica per node you are might lose.
Likelihood of having concurrent failures goes up as you have more nodes

## Slide 12: Inter-Cluster High Availability

## Slide 13: XDCR for HA and DR
XDCR can be used as part of a highly available globally load balanced architecture.
XDCR can be part of a DR strategy
  Failover to hot/warm standby
  Recover to primary cluster using cbrecover tool
Schema design can matter. Normalizing your schema into multiple smaller documents can mean you are pushing smaller changes.
XDCR is by bucket. You do not always need to replicate all data.

## Slide 14: Recover a Cluster Using XDCR and cbrecovery
If you lose more than one node in your active cluster, you are not using RZA and you have XDCR, this may be an option.
Recover a cluster from a remote cluster using the cbrecovery tool delivered with Couchbase.
http://docs.couchbase.com/admin/admin/Tasks/tasks-dataRecovery.html

## Slide 15: Application Logic + XDCR
Local app in each data center with a Global Load Balancer in front of it all.
Have each local app check timeouts and if it is taking too long, interact with the other data center and it will be replicated back to the local cluster when it is available again.
  One customer we have is reported to wait only 5ms before “failing over” like this.

## Slide 16: Other HA and DR Considerations

## Slide 17: HA During Upgrades and Patches
HA is not just about running under normal circumstances
Your RTO can help dictate how you do this
If you have spare hardware, VMs or instances, it is best to do swap rebalances and keep your capacity and availability
Have in your app’s connection string more than one node of your cluster
RPO can dictate your use of Replicate_to in your application
How many replicas should we have?
Likelihood of having concurrent failures goes up as you have more nodes

## Slide 18: Multi-data center consistency
You might need to monitor the replication queue to make sure the queue is below a specified amount
Perhaps do dual writes to both clusters if this matters

## Slide 19: Backups and Restore

## Slide 20: Database Backups
If you truly care about RTO/RPO, backups are only for specific scenarios and not your primary DR strategy.
  Backups for data corruption and data loss. e.g. app or idiocy
Use cbbackup for full and incremental backups
Test restores with cbrestore on a routine basis
LVM snapshots in 2.x and above
XDCR to a backup cluster, pause the replication and do backups from the backup cluster.

## Slide 21: Backup Strategy
The only way to get a fully consistent point in time backup of a running database is by using XDCR to another cluster, pause the stream and then backup that other cluster.
Distributed backups are a hard problem
Whether you use the backups or not will depend on the size of your database, both data and node count, and your RTO/RPO.

## Slide 22: cbbackup Strategies
cbbackup to local file system
  Easy, but consumes server resources
cbbackup to network file system
  Easy, but consumes some server and network resources
cbbackup from central server to remote servers
  Requires an extra server and for you to run parallel cbbackups
  Requires network and disk resources

## Slide 23: Remember to test your DR plan! Thank you.

## Slide 24
Get Started with Couchbase Server 4.0: www.couchbase.com/beta
Get Trained on Couchbase: training.couchbase.com